**PARK HORIZON**

**GENERAL SPECIFICATIONS**

|  |
| --- |
| **1. GENERAL CONSTRUCTION**  |

**Structure**

Reinforced concrete structure, in accordance with the regulations of the relevant authorities and according to the latest structural concrete design codes (Eurocode EC2 for concrete and Eurocode EC8 for earthquake regulations).

**External walls**

External walls built with 250mm clay brickwork finished with 80mm styrofoam and GRAFIATO

Fair faced beton which will be painted (all will be installed according to the Architectural plans).

Partial cladding with HPL

Window sills will be marble 2cm thick.

All external boundary wall will be constructed of concrete and painted.

**Internal walls**

- Partition walls 100mm Constructed from Galvanized metal stud and gypsum plaster boards

-Acoustic insulation with 80kg/m3 of rock wool installed in steel frame gap.

**Thermal insulation**

***Thermal insulation in accordance to the current requirements of the relevant authorities regarding energy savings in buildings:***

-Roof insulation will be 80mm Styrofoam fixed on concrete slab.

-Wall insulation, includes.

-Styrofoam “GR” type 80mm fixed on external sides of concrete frame

- 250mm bricks

- Double glazing

**Waterproofing**

-Damp proof course coating of all foundation perimeter and foundations, Roof and verandas waterproofing insulation as per architectural drawings and terms.

-Sealing of washroom wet walls in washroom with:

 Silicone sealer on connection between bathtub, shower tray and surrounding walls

-Waterproofing cement-based coating on built shower tray (where applicable), to be extended on shower surrounding walls up to 20cm above shower tray level.

**Drainage**

-PVC piping will be used for the waste and sewage drainage system, sizing from 2” diameter to 4” diameter.

- Connecting PVC piping between manholes and the public central sewage system.

-Rain water down pipes from balconies, verandas and horizontal roof slabs.

- PVC – supply lines for hot and cold water.

**Roofs & Ceilings**

-Internal concrete ceiling or gypsum plaster board’s false ceilings (where applicable), finished with “Spatula” coating and emulsion paint.

**Balustrades**

- External balcony balustrade will be Laminated glass on aluminum base as per architects’ design.

|  |
| --- |
| **2. DOORS & WINDOWS**  |

**Entrance door**

- Main entrance with hardwood frame and solid wood leaf.

**Internal doors**

- Internal doors with laminate finish and fitted with brushed chrome fittings and rubber seals for silent closing.

**Aluminum patio doors & windows**

-Aluminum framed doors and window profiles Muskita or Similar (MU 3000 for sliding and MU 2075 for other)

-Double glazing fitted throughout.

-External doors for secondary entrances to be with aluminum frame and double-glazing paneling according to design.

|  |
| --- |
| **3. FLOORS**  |

**Internal floors**

-Ceramic tiles for Living room, Kitchen and Corridors @ €20/m²\*

-Ceramic tiles for Bathrooms @ €17/m2\*

-Laminate parquet floor for Bedrooms @ €20/m2\*

**External floors**

-Ceramic tiles for verandas, including skirting @ €15/m²\*

|  |
| --- |
| **4. ROOMS ARRANGEMENT**  |

**Kitchen**

-Kitchen floor and wall cabinets with soft closing mechanism @€180/rm\*

-Worktops to be granite or similar @ €110/rm\*

- Walls between worktops and wall units to be ceramic

-Kitchen sink will be stainless with 3-way mixer.

**Wardrobes**

-Wardrobes for all bedrooms @ €170/m²\*), laminate finish for the front door and internal frame, shelves and drawers.

**Washrooms**

-Vanity units with laminated frame and front doors finish @ €150/m²\*

-Vanity worktop, with granite or marble top @€110/rm\*

-High quality sanitary ware and mixers and accessories to the value of €750\* per bath or shower room

-Wall tiles up to window lintel level @ €17/m²\*

-Wall mounted mirror, sized according to vanity unit.

***\*All the unit rates refer to retail prices and are excluding VAT****.*

|  |
| --- |
| **5. TECHNICAL FEATURES**  |

**Electrical installations**

√√***Electrical installation according to the 17th edition of the EAC (Electricity Authority of Cyprus) based on the Electrical British Standards and Regulations.***

√√***Electrical study by a registered electrical engineer and part of the technical documentation for the obtaining of the building permission***

-In accordance with the E.A.C. regulations

-Electrical distribution board

-Number of sockets and lights as per drawings. All sockets to be double

-Appliances connecting sockets are all with control switch with witness on/off light

-Two-way switches where necessary

-ΤV and telephone points in all bedrooms, living room and kitchen

-Door bell

-Provision of hood in the kitchen

-Electrical wall fittings white color

-Supply to electrical, plumbing and mechanical equipment according to regulations, including the Worktops necessary control switches, protection switches, circuit breaker, where applicable.

-Entrance video phone

-Provision for Air conditioning units cooling/heating

-Central internet socket

-Provision for charging electrical cars for each unit

**Lighting fittings**

-Basic light fittings are provided, and include basic fittings for:

. Internal wall and ceiling lights and lamps mounted on PVC fittings

. External ceiling and wall light fittings

Note: Number of light and power points may vary, according to the size/shape of each room and light design.

**Plumbing installation**

- Central water tank with solar panels for hot water

- Pressurized cold and hot water from storage water tank

- Direct supply of drinking water from the mains to water tap kitchen

- Provision for central heating – wall panels and heat pump system

**Exclusive Use:**

-There is a parking space and a storage exclusively allocated to each apartment.

|  |
| --- |
| **Changes to the specifications and drawings** |

The Vendor reserves every right to unilaterally carry out changes to the design and/or specifications for reasons of compliance to regulations and good building practice.

-The Purchaser may request changes to the specifications or drawings, the cost of which is negotiable. However, the Vendor reserves the right to refuse any changes, which are considered to be unsafe and/or outside good building practice or altering the architectural design and/or the character of the project.

-In cases where delays in the delivery of materials, resulting from customer’s variations and/or special orders and/or due to the manufacturer inability to deliver on time, then ultimately these delays will push the delivery date forward.

AUGUST 2023